|  | ......................... Stk .............................. € .............................. € GEZE TS 5000 L SoftClose overhead door closer, for installation on fire and smoke protection doors, in accordance with EN 1154 A, closer size EN 3-6, with guide rail BG, closing force adjustable from the front, closing speed and back check, with a valve integrated into the closer body for variable adjustment of the latching action speed to decelerate or accelerate the door between 15° and 0°, with closing force display, door leaf installation on the opposite hinge side, with mounting plate Alternative to the guide rail BG: ( ) with T-Stop guide rail BG, with integrated opening restrictor Colour: ( ) silver-coloured ( ) dark bronze ( ) white ( ) simulated stainless steel ( ) RAL ..... |
| --- | --- |